## Phase1
Jaggernath2016PLoSONE
Phase 1 data
|  |  | Reference Standard Sysmex | HEMOCUE | STATSITE | URIT-12 | HEMOCUE | STATSITE | URIT-12 | COMMENTS
DATE | LAB NUMBER | Gender | Hb (g/dl) | Hb (g/dl) | Hb (g/dl) | Hb (g/dl) | Time to result (sec) | Time to result (sec) | Time to result (sec)
20/08/2013 | 00769 | M | 4.7 | 5.1 | 4.8 | LO | 10.44 | 32.11 | 6.24
21/08/2013 | 01030 | F | 6.2 | 6.5 | 5.7 | 5.4 | 10.9 | 40.78 | 6.65
21/08/2013 | 01076 | F | 9 | 9.6 | 8.2 | 8.1 | 10.64 | 41.86 | 6.81
21/08/2013 | 01323 | F | 11.3 | 11.5 | 8.2 | 8.9 | 10.41 | 57.43 | 6.9
21/08/2013 | 00977 | F | 8.6 | 9.5 | LO | 6.3 | 10.87 | 53.06 | 6.72
21/08/2013 | 01098 | F | 7.1 | 8.2 | 4.9 | 5.8 | 11.06 | 51.74 | 7.37
21/08/2013 | 01319 | F | 14.5 | 15.1 | 15.1 | 11.4 | 10.9 | 41.7 | 6.87
21/08/2013 | 01324 | F | 11 | 11.2 | 10.9 | 8.9 | 11.03 | 34.97 | 7.06
21/08/2013 | 00985 | F | 7.6 | 8.2 | 5.9 | 6.3 | 10.84 | 104.59 | 6.95
21/08/2013 | 00966 | F | 7.7 | 8.7 | 4.8 | 6.4 | 10.7 | 115.25 | 7.22
21/08/2013 | 01376 | M | 10.3 | 10.4 | 10 | 9.3 | 10.95 | 37.24 | 7.02
21/08/2013 | 01283 | F | 12.9 | 13.4 | LO | 9.5 | 10.75 | 130.87 | 6.69 | Statsite - Incorrect sample migration
21/08/2013 | 01248 | M | 16 | 16.4 | 11.1 | 12.1 | 10.91 | 98.83 | 6.78
22/08/2013 | 01819 | M | 11.9 | 12.5 | 11.2 | 8.3 | 11.03 | 44.77 | 7.37
22/08/2013 | 01771 | F | 16.1 | 16.5 | 7 | 13 | 10.85 | 131.84 | 6.95 | Statsite - Incorrect sample migration
22/08/2013 | 01803 | F | 10.8 | 11.9 | 6.3 | 8.4 | 11.1 | 53.89 | 7.12
22/08/2013 | 01792 | F | 11.1 | 11.5 | LO | 7.2 | 10.93 | 48.17 | 6.25 | Statsite - Incorrect sample migration
22/08/2013 | 01343 | F | 11.5 | 11.8 | 9.4 | 9.4 | 10.93 | 39.51 | 6.31
22/08/2013 | 01825 | M | 17.1 | 18 | LO | 13.9 | 10.81 | 141.33 | 6.71 | Statsite - Incorrect sample migration
22/08/2013 | 01791 | M | 12.3 | 12.9 | 12.3 | 9.8 | 10.023 | 37.25 | 6.4
22/08/2013 | 01606 | M | 14.2 | 14.3 | 13.8 | 11.5 | 10.82 | 40.09 | 5.94
22/08/2013 | 01769 | M | 15.1 | 16 | 13.4 | 12.4 | 10.87 | 51.36 | 6.66
22/08/2013 | 01823 | F | 12.5 | 13.2 | 12.3 | 8.1 | 10.93 | 37.41 | 6.84
26/08/2013 | 02977 | F | 13.1 | 13.3 | 10.1 | 10.5 | 10.81 | 41.53 | 6.25
26/08/2013 | 02933 | F | 12.2 | 13 | 7.2 | 10.05 | 10.901 | 120.06 | 6.47 | Statsite - Incorrect sample migration
26/08/2013 | 02986 | F | 10.9 | 11.4 | 7.3 | 8.7 | 10.86 | 117.1 | 6.9
26/08/2013 | 02934 | F | 13.5 | 14.5 | 12.4 | 10.8 | 10.82 | 49.11 | 6.94
26/08/2013 | 02948 | F | 8.2 | 9.1 | 7.9 | 6.8 | 10.83 | 33.36 | 7.14
26/08/2013 | 05693 | F | 14.9 | 15.7 | 13.4 | 9.9 | 10.81 | 54.31 | 9.6
26/08/2013 | 02984 | F | 8.9 | 9.5 | 8.8 | 8.8 | 10.94 | 38.11 | 6.7
26/08/2013 | 02974 | M | 9.8 | 10.4 | 10.3 | 8.1 | 10.81 | 37.47 | 7.08
26/08/2013 | 02996 | F | 11.1 | 11.7 | 11.5 | 9.2 | 10.78 | 39.86 | 7.19
26/08/2013 | 05711 | F | 13.8 | 14.8 | 13.5 | 10.9 | 11.16 | 37.62 | 7.12
26/08/2013 | 02924 | F | 12.6 | 14.1 | 12.8 | 10.7 | 10.72 | 41.14 | 6.97
26/08/2013 | 02636 | F | 14.7 | 15.8 | 15.2 | 12.3 | 10.84 | 46.47 | 6.98
26/08/2013 | 02909 | F | 11.8 | 13.1 | 10.9 | 9.4 | 10.81 | 39.9 | 7.16
26/08/2013 | 02955 | F | 12.1 | 13.1 | 11.8 | 9.4 | 10.87 | 51.31 | 7.12
26/08/2013 | 02973 | F | 14 | 14.5 | 12.5 | 11.3 | 11.34 | 40.25 | 6.76
26/08/2013 | 02889 | F | 11 | 12.1 | 7.9 | 8.6 | 10.35 | 115.96 | 6.47
26/08/2013 | 02979 | M | 9.9 | 10.5 | 9.1 | 6.6 | 10.36 | 35.3 | 8.46
26/08/2013 | 02875 | F | 13.9 | 14.9 | 13.4 | 10.5 | 10.93 | 41.41 | 6.53
26/08/2013 | 02976 | F | 13.3 | 13.7 | 11.8 | 11.4 | 10.92 | 46.13 | 6.82
26/08/2013 | 03004 | F | 11.4 | 11.7 | 11.1 | 8.8 | 10.73 | 39.06 | 5.67
27/08/2013 | 00010 | F | 13.4 | 13.7 | 13.2 | 10.9 | 10.74 | 46.04 | 6.47
27/08/2013 | 03198 | F | 11.9 | 12.1 | 12.3 | 8.5 | 10.9 | 39.35 | 6.48
27/08/2013 | 03460 | F | 13.9 | 13.9 | 13 | 11.3 | 10.93 | 32.23 | 6.52
27/08/2013 | 00088 | F | 13.5 | 13.6 | 13.5 | 9.2 | 10.36 | 42.15 | 6.73
27/08/2013 | 03611 | F | 14.4 | 14.3 | 14.4 | 11.2 | 10.94 | 43.03 | 7.28
27/08/2013 | 03603 | F | 9 | 9.2 | 8.7 | 7.4 | 10.81 | 40.82 | 6.33
27/08/2013 | 02615 | M | 12.8 | 13.6 | 11.4 | 11.5 | 11.09 | 45.55 | 6.23
27/08/2013 | 03602 | F | 13.4 | 13.3 | 13.6 | 10 | 10.93 | 38.58 | 7.25
27/08/2013 | 00026 | F | 11.5 | 11.8 | 10 | 6.92 | 10.56 | 34.42 | 8.2
27/08/2013 | 00079 | M | 13.7 | 13.6 | 13.1 | 10.3 | 10.88 | 34.84 | 5.78
27/08/2013 | 00037 | M | 17.4 | 17.3 | 9.4 | 14.6 | 10.89 | 50.74 | 8.38 | Statsite - Incorrect sample migration
27/08/2013 | 00056 | M | 12.6 | 12.7 | 12.2 | 9.9 | 10.9 | 35.49 | 6.52
27/08/2013 | 00012 | M | 17.3 | 17.5 | 16 | 11.3 | 10.9 | 58.17 | 6.89
27/08/2013 | 00020 | F | 13.3 | 13.9 | 11.7 | 10.4 | 10.87 | 48.69 | 6.94
27/08/2013 | 05721 | F | 11.4 | 12 | 10.2 | 8.6 | 10.87 | 39.7 | 6.28
27/08/2013 | 00022 | F | 13.5 | 13.9 | 14.3 | 10.8 | 10.03 | 38.36 | 6.69
27/08/2013 | 00017 | F | 13.2 | 13.6 | 13.5 | 10.6 | 11.16 | 45.08 | 6.17

## Phase1_CV
Jaggernath2016PLoSONE
CV calculations
|  | HEMOCUE | STATSITE | URIT-12 | Reference standard
DATE | LAB NUMBER | HB (g/dl) | HB (g/dl) | HB (g/dl) | Hb (g/dl)
19/08/2013 | 25 | 15.1 | 13.4 | 10.6 | 14.7
19/08/2013 | 25 | 15.2 | 4.9 | 11.1 | 14.8
19/08/2013 | 25 | 15.2 | 13.4 | 11.3 | 14.8
19/08/2013 | 25 | 15.3 | 14.1 | 11.9 | 14.8
19/08/2013 | 25 | 15.2 | 14.4 | 11.6 | 14.9
| STDEV | 0.070711 | 4.0153 | 0.49497 | 0.070711
| mean | 15.2 | 12.04 | 11.3 | 14.8
| CV | 0.4652 | 33.35 | 4.3803 | 0.47777
19/08/2013 | 32 | 13 | 6.5 | 9 | 12.4
19/08/2013 | 32 | 13.1 | 12.4 | 10 | 12.4
19/08/2013 | 32 | 13.2 | 7 | 8.9 | 12.6
19/08/2013 | 32 | 13 | 14.4 | 9.4 | 12.5
19/08/2013 | 32 | 13.2 | 12.7 | 9.4 | 12.6
| STDEV | 0.1 | 3.6007 | 0.43359 | 0.1
| mean | 13.1 | 10.6 | 9.34 | 12.5
| CV | 0.76336 | 33.9688 | 4.6423 | 0.8
20/08/2013 | 769 | 5.1 | 4.8 | 2 | 4.7
20/08/2013 | 769 | 5.2 | 3 | 2 | 4.7
20/08/2013 | 769 | 5.1 | 3 | 2 | 4.7
20/08/2013 | 769 | 5.1 | 3 | 2 | 4.7
20/08/2013 | 769 | 5 | 3 | 2 | 4.8
| STDEV | 0.070711 | 0.80498 | 0 | 0.044721
| mean | 5.1 | 3.36 | 2 | 4.72
| CV | 1.3865 | 23.9579 | 0 | 0.94749
| Mean CV | 0.87168 | 30.4256 | 3.0075 | 0.74175

## Phase2
Jaggernath2016PLoSONE
Phase 2 data
|  |  |  | Reference Standard Sysmex | HemoCue | STAT-Site | URIT-12 | HemoCue | STAT-Site | URIT-12 | Reference Standard Sysmex | Reference Standard Sysmex | Reference Standard Sysmex | Reference Standard Sysmex | Reference Standard Sysmex
Date | Study number | Gender | AGE | Hb (g/dL) | Hb (g/dL) | Hb (g/dL) | Hb (g/dL) | Time to result (sec) | Time to result (sec) | Time to result (sec) | Date time collected at community based clinic | Date time received at central laboratory | ∆ collected received (hours) | Date time resulted at central laboratory | ∆ collected test result (hours)
2014-02-10 | 0001 | M | 29.7002 | 14.1 | 14 | 12.2 | 8.7 | 10.86 | 41.14 | 2.88 | 2014-02-10 11:08 | 2014-02-10 15:20 | 4.2 | 2014-02-10 16:41 | 5.5542
2014-02-10 | 0002 | F | 31.5428 | 14.8 | 13.9 | 14.9 | 9.3 | 10.56 | 39.21 | 7.29 | 2014-02-10 11:20 | 2014-02-10 15:21 | 4.0167 | 2014-02-10 16:42 | 5.3728
2014-02-10 | 0003 | F | 26.2669 | 13.4 | 13 | 11.6 | 9.4 | 11.23 | 40.03 | 5.9 | 2014-02-10 11:38 | 2014-02-10 15:22 | 3.7333 | 2014-02-10 16:58 | 5.3417
2014-02-10 | 0004 | F | 39.8111 | 12.9 | 9.8 | 12.5 | 9.7 | 10.69 | 39.11 | 6.96 | 2014-02-10 11:50 | 2014-02-10 15:23 | 3.55 | 2014-02-10 16:45 | 4.9117
2014-02-10 | 0005 | M | 27.6632 | 16.3 | 14.7 | 15.7 | 11.2 | 8.96 | 39.53 | 6.08 | 2014-02-10 12:00 | 2014-02-10 15:24 | 3.4 | 2014-02-10 16:46 | 4.7631
2014-02-10 | 0006 | M | 50.4887 | 14 | 10 | 14.4 | 10.7 | 10.84 | 38.56 | 6.65 | 2014-02-10 12:40 | 2014-02-10 15:25 | 2.75 | 2014-02-10 16:47 | 4.1153
2014-02-10 | 0007 | F | 21.5907 | 12.5 | 12.1 | 10.8 | 8.9 | 9.7 | 41.83 | 7.18 | 2014-02-10 13:10 | 2014-02-10 15:25 | 2.25 | 2014-02-10 16:48 | 3.6336
2014-02-10 | 0008 | M | 22.3463 | 13.6 | 13.3 | 11.6 | 10.2 | 9.63 | 30.42 | 5.9 | 2014-02-10 13:40 | 2014-02-10 13:40 | 0 | 2014-02-10 16:49 | 3.1519
2014-02-10 | 0009 | F | 25.6947 | 13.4 | 13.8 | 11 | 9.9 | 10.18 | 39.3 | 8.5 | 2014-02-10 13:55 | 2014-02-10 15:27 | 1.5333 | 2014-02-10 16:50 | 2.9203
2014-02-11 | 0010 | M | 54.3546 | 14.5 | 12.2 | 13.5 | 9.7 | 10.68 | 41.83 | 7.31 | 2014-02-11 08:16 | 2014-02-11 11:50 | 3.5667 | 2014-02-11 14:15 | 5.9808
2014-02-11 | 0011 | M | 43.6797 | 14.8 | 12.1 | 14 | 11.1 | 11.41 | 41.96 | 8.18 | 2014-02-11 08:30 | 2014-02-11 11:51 | 3.35 | 2014-02-11 14:16 | 5.7664
2014-02-11 | 0012 | F | 40.1807 | 11.2 | 8.9 | 10.1 | 9.9 | 11.01 | 41.8 | 6.79 | 2014-02-11 08:45 | 2014-02-11 11:52 | 3.1167 | 2014-02-11 14:17 | 5.5347
2014-02-11 | 0013 | M | 38.7105 | 14.6 | 10.3 | 11.6 | 11 | 10.9 | 41.67 | 5.8 | 2014-02-11 08:50 | 2014-02-11 11:53 | 3.05 | 2014-02-11 14:18 | 5.4697
2014-02-11 | 0014 | F | 24.5147 | 9.9 | 10.2 | 9.7 | 8.1 | 11.54 | 38.8 | 6.34 | 2014-02-11 09:10 | 2014-02-11 11:54 | 2.7333 | 2014-02-11 14:19 | 5.1544
2014-02-11 | 0015 | F | 44.8214 | 11.4 | 10.7 | 12.4 | 9 | 11.68 | 36.51 | 7.29 | 2014-02-11 09:20 | 2014-02-11 11:55 | 2.5833 | 2014-02-11 14:20 | 5.0061
2014-02-11 | 0016 | M | 20.7967 | 14.2 | 14.9 | 15 | 11.2 | 11.15 | 37.47 | 7.88 | 2014-02-11 09:40 | 2014-02-11 11:56 | 2.2667 | 2014-02-11 14:21 | 4.6911
2014-02-11 | 0017 | F | 41.911 | 12.9 | 12.5 | 10.3 | 9 | 11.4 | 39.75 | 7.44 | 2014-02-11 13:24 | 2014-02-11 15:07 | 1.7167 | 2014-02-11 17:20 | 3.9272
2014-02-11 | 0018 | F | 43.6249 | 9.4 | 9.3 | 8.2 | 9 | 11.19 | 40.05 | 11.43 | 2014-02-11 13:40 | 2014-02-11 15:07 | 1.45 | 2014-02-11 17:21 | 3.6789
2014-02-11 | 0019 | M | 27.6413 | 14.2 | 14.4 | 13.6 | 10.8 | 11.28 | 39.12 | 6.43 | 2014-02-11 13:34 | 2014-02-11 15:08 | 1.5667 | 2014-02-11 17:22 | 3.7969
2014-02-11 | 0020 | F | 38.1958 | 12.7 | 12.3 | 12.8 | 9.5 | 10.79 | 39.56 | 6.59 | 2014-02-11 14:00 | 2014-02-11 15:09 | 1.15 | 2014-02-11 17:23 | 3.3822
2014-02-11 | 0021 | F | 26.9651 | 9.4 | 10 | 8.8 | 7.7 | 11.06 | 40.64 | 7.1 | 2014-02-11 14:08 | 2014-02-11 15:10 | 1.0333 | 2014-02-11 17:27 | 3.3219
2014-02-11 | 0022 | F | 44.9966 | 12.9 | 10.2 | 12.2 | 10 | 10.06 | 41.31 | 5.5 | 2014-02-11 14:15 | 2014-02-11 15:11 | 0.93333 | 2014-02-11 17:30 | 3.2419
2014-02-11 | 0023 | F | 43.2553 | 10.4 | 10 | 10.1 | 8.5 | 11.31 | 43.18 | 6.71 | 2014-02-11 14:22 | 2014-02-11 15:12 | 0.83333 | 2014-02-11 18:02 | 3.6636
2014-02-11 | 0024 | F | 35.6851 | 12.3 | 10.8 | 10.6 | 10.5 | 11.6 | 35.03 | 8.71 | 2014-02-11 14:30 | 2014-02-11 15:12 | 0.7 | 2014-02-11 18:06 | 3.6058
2014-02-11 | 0025 | F | 34.1191 | 10.7 | 10 | 11 | 7.3 | 11.35 | 44.74 | 8.44 | 2014-02-11 14:35 | 2014-02-11 15:13 | 0.63333 | 2014-02-11 18:12 | 3.6236
2014-02-12 | 0026 | F | 40.4134 | 10.3 | 9.2 | 10.1 | 9.2 | 11.61 | 37.15 | 8.2 | 2014-02-12 08:10 | 2014-02-12 16:35 | 8.4167 | 2014-02-12 17:48 | 9.6303
2014-02-12 | 0027 | F | 25.243 | 12.9 | 11.5 | 12.6 | 11.1 | 11.29 | 38.28 | 7.35 | 2014-02-12 08:21 | 2014-02-12 16:37 | 8.2667 | 2014-02-12 17:46 | 9.4108
2014-02-12 | 0028 | F | 25.1389 | 11.6 | 11.5 | 11 | 8.6 | 11.36 | 49.78 | 7.17 | 2014-02-12 08:32 | 2014-02-12 16:38 | 8.1 | 2014-02-12 17:47 | 9.2456
2014-02-12 | 0029 | F | 25.9685 | 11.6 | 10.9 | 10.5 | 8.1 | 10.59 | 39.45 | 5.71 | 2014-02-12 08:45 | 2014-02-12 16:39 | 7.9 | 2014-02-12 17:41 | 8.9378
2014-02-12 | 0030 | F | 31.2225 | 13 | 13.1 | 13.1 | 9.8 | 11.23 | 40.7 | 7.32 | 2014-02-12 08:50 | 2014-02-12 16:40 | 7.8333 | 2014-02-12 17:42 | 8.8725
2014-02-12 | 0031 | F | 26.3765 | 12.1 | 12.6 | 12.2 | 10.2 | 11.28 | 37.56 | 7.39 | 2014-02-12 09:02 | 2014-02-12 16:41 | 7.65 | 2014-02-12 17:43 | 8.6908
2014-02-12 | 0032 | F | 23.1075 | 12 | 11.7 | 11.6 | 8.2 | 11.4 | 36.87 | 6.93 | 2014-02-12 09:12 | 2014-02-12 16:42 | 7.5 | 2014-02-12 17:37 | 8.4128
2014-02-12 | 0033 | F | 39.8686 | 11.8 | 13.2 | 11.8 | 9.7 | 11.48 | 42.23 | 5.42 | 2014-02-12 09:20 | 2014-02-12 16:43 | 7.3833 | 2014-02-12 17:36 | 8.2614
2014-02-12 | 0034 | M | 29.4593 | 13.7 | 12.8 | 13.6 | 11.5 | 11.22 | 39.78 | 6.79 | 2014-02-12 09:32 | 2014-02-12 16:36 | 7.0667 | 2014-02-12 17:45 | 8.2094
2014-02-12 | 0035 | M | 21.5606 | 15.5 | 15.7 | 15.2 | 11.2 | 11.31 | 50.84 | 6.7 | 2014-02-12 10:04 | 2014-02-12 16:44 | 6.6667 | 2014-02-12 17:35 | 7.5097
2014-02-12 | 0036 | M | 31.4689 | 15.2 | 15.7 | 15.1 | 10.4 | 11.45 | 49.16 | 6.82 | 2014-02-12 10:21 | 2014-02-12 16:45 | 6.4 | 2014-02-12 18:17 | 7.9267
2014-02-12 | 0037 | M | 49.6263 | 15.9 | 14.1 | 14.8 | 12.3 | 11.28 | 41.16 | 7.56 | 2014-02-12 10:30 | 2014-02-12 16:46 | 6.2667 | 2014-02-12 18:16 | 7.7583
2014-02-12 | 0038 | M | 41.0294 | 13 | 10.8 | 12.6 | 11.7 | 11.06 | 38.34 | 9.78 | 2014-02-12 10:34 | 2014-02-12 16:47 | 6.2167 | 2014-02-12 18:14 | 7.6728
2014-02-12 | 0039 | M | 21.6099 | 13.2 | 12.3 | 14.3 | 12.2 | 11.29 | 37.54 | 7.65 | 2014-02-12 10:44 | 2014-02-12 16:48 | 6.0667 | 2014-02-12 18:13 | 7.4878
2014-02-12 | 0040 | M | 19.4333 | 14.2 | 14.6 | 14.3 | 10.5 | 11.03 | 39.21 | 8.33 | 2014-02-12 10:57 | 2014-02-12 16:49 | 5.8667 | 2014-02-12 17:49 | 6.8653
2014-02-13 | 0041 | M | 21.7796 | 14.7 | 12.9 | 12.3 | 9.8 | 11.23 | 49.62 | 6.84
2014-02-13 | 0042 | F | 28.5065 | 7.7 | 8.1 | 8 | 7.1 | 11.48 | 41.6 | 10.25 | 2014-02-13 09:20 | 2014-02-13 11:02 | 1.7 | 2014-02-13 11:53 | 2.5431
2014-02-13 | 0043 | M | 28.1287 | 13.9 | 13.2 | 14 | 10.9 | 11.19 | 39.5 | 7.72 | 2014-02-13 09:35 | 2014-02-13 11:05 | 1.5 | 2014-02-13 11:32 | 1.9467
2014-02-13 | 0044 | M | 24.9747 | 14 | 14.4 | 13.7 | 9.9 | 11.41 | 39.2 | 7.98 | 2014-02-13 10:05 | 2014-02-13 11:02 | 0.95 | 2014-02-13 11:28 | 1.3911
2014-02-13 | 0045 | F | 32.7775 | 12.7 | 11.1 | 13.4 | 10.8 | 11.4 | 37.03 | 6.63 | 2014-02-13 10:15 | 2014-02-13 11:04 | 0.81667 | 2014-02-13 11:31 | 1.2617
2014-02-13 | 0046 | M | 35.0883 | 13.3 | 12.8 | 12 | 8.7 | 11.79 | 43.24 | 8.43 | 2014-02-13 10:30 | 2014-02-13 15:51 | 5.35 | 2014-02-13 17:30 | 7.0083
2014-02-13 | 0047 | F | 20.4956 | 12.2 | 12.6 | 13 | 8.5 | 11.61 | 38.18 | 6.82 | 2014-02-13 10:44 | 2014-02-13 15:52 | 5.1333 | 2014-02-13 17:29 | 6.7539
2014-02-13 | 0048 | M | 21.4127 | 13.5 | 14.3 | 14.1 | 9.4 | 11.29 | 39.56 | 7.26 | 2014-02-13 10:55 | 2014-02-13 15:56 | 5.0167 | 2014-02-13 17:25 | 6.4925
2014-02-13 | 0049 | F | 22.6229 | 12.3 | 13.7 | 13 | 9 | 11.66 | 37.37 | 7.5 | 2014-02-13 11:08 | 2014-02-13 15:55 | 4.7833 | 2014-02-13 18:26 | 7.2975
2014-02-13 | 0050 | M | 21.0513 | 13.4 | 13.6 | 14.3 | 10.1 | 11.96 | 39.84 | 7.36 | 2014-02-13 11:23 | 2014-02-13 15:54 | 4.5167 | 2014-02-13 17:27 | 6.065
2014-02-13 | 0051 | F | 18.5188 | 11 | 11.3 | 10.6 | 9 | 11.26 | 38.64 | 6.07 | 2014-02-13 11:40 | 2014-02-13 15:33 | 3.8833 | 2014-02-13 17:28 | 5.8008
2014-02-14 | 0052 | F | 30.601 | 13.4 | 13.5 | 13.6 | 9.8 | 11.52 | 39.6 | 7.55 | 2014-02-14 08:25 | 2014-02-14 11:56 | 3.5167 | 2014-02-14 14:09 | 5.7331
2014-02-14 | 0053 | F | 33.3607 | 12.9 | 12.7 | 13.1 | 8.4 | 11.4 | 48.05 | 6.93 | 2014-02-14 08:36 | 2014-02-14 11:57 | 3.35 | 2014-02-14 14:03 | 5.4531
2014-02-14 | 0054 | F | 31.5346 | 7.7 | 7.5 | 8.3 | 5.9 | 11.18 | 38.62 | 7.78 | 2014-02-14 08:46 | 2014-02-14 11:58 | 3.2 | 2014-02-14 14:02 | 5.2681
2014-02-14 | 0055 | F | 41.3087 | 12.7 | 12.9 | 11.6 | 10.7 | 11.23 | 51.2 | 7.58 | 2014-02-14 08:50 | 2014-02-14 12:00 | 3.1667 | 2014-02-14 14:00 | 5.1644
2014-02-14 | 0056 | F | 20.7228 | 11.9 | 12.2 | 11.4 | 9.8 | 11.4 | 39.69 | 7.91 | 2014-02-14 09:05 | 2014-02-14 11:59 | 2.9 | 2014-02-14 14:01 | 4.9331
2014-02-14 | 0057 | F | 24.0602 | 12 | 11.8 | 11.6 | 9 | 11.23 | 36.32 | 7.09 | 2014-02-14 09:20 | 2014-02-14 12:01 | 2.6833 | 2014-02-14 13:59 | 4.6461
2014-02-14 | 0058 | F | 23.2197 | 11.7 | 11.6 | 11.5 | 9.2 | 11.23 | 36.62 | 9.06 | 2014-02-14 09:30 | 2014-02-14 12:02 | 2.5333 | 2014-02-14 13:58 | 4.4611
2014-02-14 | 0059 | F | 27.0445 | 11.9 | 11.6 | 11.8 | 8.2 | 11.32 | 35.14 | 7.53 | 2014-02-14 09:49 | 2014-02-14 12:03 | 2.2333 | 2014-02-14 13:57 | 4.1261
2014-02-14 | 0060 | M | 22.4887 | 15.7 | 15.7 | 13.7 | 13.4 | 11.1 | 40.9 | 7.1 | 2014-02-14 10:05 | 2014-02-14 12:03 | 1.9667 | 2014-02-14 13:55 | 3.8411
2014-02-14 | 0061 | M | 22.5462 | 11.2 | 11.4 | 10.1 | 8.9 | 10.86 | 45.78 | 7.04 | 2014-02-14 10:20 | 2014-02-14 12:04 | 1.7333 | 2014-02-14 13:54 | 3.5728
2014-02-14 | 0062 | M | 30.1711 | 14.5 | 14.7 | 6.2 | 10 | 11.03 | 52.47 | 6.17 | 2014-02-14 10:26 | 2014-02-14 12:05 | 1.65 | 2014-02-14 13:53 | 3.4542
2014-02-17 | 0063 | F | 47.2307 | 11.3 | 11.3 | 12.3 | 9.7 | 11.38 | 36.81 | 6.81 | 2014-02-17 09:30 | 2014-02-17 14:36 | 5.1 | 2014-02-17 15:04 | 5.5686
2014-02-17 | 0064 | M | 22.36 | 14.7 | 16.3 | 15.2 | 12.3 | 11.4 | 37.53 | 7.78 | 2014-02-17 10:38 | 2014-02-17 15:01 | 4.3833 | 2014-02-17 16:40 | 6.0389
2014-02-17 | 0065 | M | 27.0144 | 15.8 | 16.4 | 14.7 | 10.6 | 11.11 | 47.63 | 8.05 | 2014-02-17 10:48 | 2014-02-17 15:07 | 4.3167 | 2014-02-17 16:37 | 5.8172
2014-02-17 | 0066 | F | 23.2608 | 9.8 | 9.5 | 10.4 | 8.8 | 11.65 | 36.94 | 6.96 | 2014-02-17 11:10 | 2014-02-17 15:02 | 3.8667 | 2014-02-17 16:39 | 5.4872
2014-02-17 | 0067 | M | 23.3128 | 14 | 14.7 | 13.7 | 14.6 | 11.35 | 38.19 | 10.03 | 2014-02-17 11:50 | 2014-02-17 15:10 | 3.3333 | 2014-02-17 16:56 | 5.1053
2014-02-17 | 0068 | F | 18.8747 | 11.6 | 12.5 | 9.1 | 9 | 11.41 | 36.47 | 7.98 | 2014-02-17 12:15 | 2014-02-17 15:11 | 2.9333 | 2014-02-17 16:31 | 4.2736
2014-02-17 | 0069 | F | 18.2286 | 11.9 | 13.2 | 12.6 | 8.5 | 11.33 | 38.12 | 7.07 | 2014-02-17 12:25 | 2014-02-17 15:07 | 2.7 | 2014-02-17 16:38 | 4.2192
2014-02-17 | 0070 | F | 20.1369 | 9.8 | 9.2 | 10.1 | 7.9 | 11.46 | 37.17 | 6.37 | 2014-02-17 12:39 | 2014-02-17 15:08 | 2.4833 | 2014-02-17 16:35 | 3.9306
2014-02-17 | 0071 | F | 19.4606 | 12.2 | 13.3 | 10.7 | 10.7 | 11.31 | 41.46 | 7.03 | 2014-02-17 13:40 | 2014-02-17 15:08 | 1.4667 | 2014-02-17 16:36 | 2.9322
2014-02-17 | 0072 | F | 21.8645 | 8 | 9.7 | 6.7 | 7.3 | 11.31 | 43.28 | 8.03 | 2014-02-17 14:08 | 2014-02-17 15:09 | 1.0167 | 2014-02-17 16:34 | 2.4292
2014-02-18 | 0073 | F | 21.3087 | 13.2 | 14.2 | 12.5 | 12.5 | 11.4 | 42.52 | 6.71 | 2014-02-18 09:10 | 2014-02-18 10:43 | 1.55 | 2014-02-18 11:42 | 2.525
2014-02-18 | 0074 | F | 35.0637 | 13.5 | 13 | 14.9 | 10.4 | 11.4 | 39.27 | 7.06 | 2014-02-18 09:26 | 2014-02-18 10:44 | 1.3 | 2014-02-18 11:44 | 2.2953
2014-02-18 | 0075 | M | 31.2416 | 13.7 | 14 | 11.8 | 11.9 | 11.56 | 40.02 | 5.44 | 2014-02-18 09:30 | 2014-02-18 10:46 | 1.2667 | 2014-02-18 11:43 | 2.2097
2014-02-18 | 0076 | F | 36.1862 | 11.5 | 11.9 | 11.9 | 11.2 | 11.4 | 41.22 | 9.53 | 2014-02-18 09:48 | 2014-02-18 15:35 | 5.7833 | 2014-02-18 16:52 | 7.0728
2014-02-18 | 0077 | F | 39.6468 | 7.6 | 8.9 | 7.4 | 7.5 | 11.45 | 38.35 | 7.18 | 2014-02-18 09:59 | 2014-02-18 15:38 | 5.65 | 2014-02-18 16:58 | 6.9756
2014-02-18 | 0078 | M | 38.4449 | 13.4 | 11.8 | 12.6 | 10.5 | 11.39 | 42.52 | 7.15 | 2014-02-18 10:12 | 2014-02-18 15:31 | 5.3167 | 2014-02-18 17:23 | 7.1781
2014-02-18 | 0079 | F | 44.167 | 10.7 | 11.4 | 10.8 | 9.2 | 11.96 | 40.33 | 6.5 | 2014-02-18 10:20 | 2014-02-18 15:31 | 5.1833 | 2014-02-18 17:00 | 6.6642
2014-02-18 | 0080 | F | 60.5749 | 9.9 | 10.8 | 10.2 | 8.6 | 11.53 | 36.49 | 8.18 | 2014-02-18 10:30 | 2014-02-18 15:31 | 5.0167 | 2014-02-18 17:01 | 6.5158
2014-02-18 | 0081 | F | 31.603 | 9.4 | 10.3 | 7.3 | 8.6 | 12.07 | 39.81 | 8.41 | 2014-02-18 10:38 | 2014-02-18 15:30 | 4.8667 | 2014-02-18 17:02 | 6.4006
2014-02-18 | 0082 | M | 26.4887 | 14.9 | 15.5 | 15.2 | 12.2 | 11.68 | 47.39 | 7.76 | 2014-02-18 10:46 | 2014-02-18 15:28 | 4.7 | 2014-02-18 17:03 | 6.2861
2014-02-18 | 0083 | M | 42.0397 | 12.1 | 13.2 | 10.4 | 9.2 | 11.48 | 48.55 | 7.55 | 2014-02-18 10:53 | 2014-02-18 15:27 | 4.5667 | 2014-02-18 17:36 | 6.7161
2014-02-18 | 0084 | F | 49.1554 | 11 | 12.1 | 11.8 | 11.2 | 11.4 | 38.61 | 9.03 | 2014-02-18 11:02 | 2014-02-18 15:20 | 4.3 | 2014-02-18 17:06 | 6.0583
2014-02-18 | 0085 | F | 55.4825 | 12.2 | 13.1 | 12 | 12.5 | 11.48 | 39.4 | 8.03 | 2014-02-18 11:08 | 2014-02-18 15:26 | 4.3 | 2014-02-18 17:07 | 5.9764
2014-02-18 | 0086 | F | 38.6585 | 11.6 | 12.5 | 11.6 | 9.1 | 11.44 | 34.68 | 6.53 | 2014-02-18 11:14 | 2014-02-18 15:48 | 4.5667 | 2014-02-18 16:48 | 5.5664
2014-02-18 | 0087 | M | 43.0062 | 15.4 | 16.9 | 14.2 | 11.7 | 11.31 | 43.18 | 7.75 | 2014-02-18 11:24 | 2014-02-18 15:49 | 4.4167 | 2014-02-18 16:47 | 5.3817
2014-02-18 | 0088 | F | 32.011 | 11.7 | 12 | 10.8 | 10.3 | 11.23 | 38.39 | 7.78 | 2014-02-18 11:36 | 2014-02-18 16:00 | 4.4 | 2014-02-18 16:46 | 5.1633
2014-02-18 | 0089 | F | 22.4997 | 8.7 | 9.2 | 9.7 | 7.1 | 11.33 | 36.44 | 8.76 | 2014-02-18 11:55 | 2014-02-18 16:02 | 4.1167 | 2014-02-18 16:45 | 4.8278
2014-02-18 | 0090 | F | 21.4209 | 11.7 | 12.6 | 11.6 | 10.2 | 11.73 | 40.47 | 6.98 | 2014-02-18 12:04 | 2014-02-18 16:03 | 3.9833 | 2014-02-18 16:44 | 4.6594
2014-02-18 | 0091 | F | 28.5311 | 11.5 | 12.5 | 12 | 10.5 | 11.35 | 38.03 | 8.57 | 2014-02-18 12:50 | 2014-02-18 16:03 | 3.2167 | 2014-02-18 16:42 | 3.8744
2014-02-19 | 0092 | F | 33.4045 | 13 | 10.9 | 11.4 | 9 | 11.28 | 39.42 | 7.36 | 2014-02-19 08:30 | 2014-02-19 12:00 | 3.5 | 2014-02-19 13:27 | 4.9578
2014-02-19 | 0093 | F | 44.6133 | 13.1 | 12.3 | 10.6 | 9.1 | 11.6 | 46.48 | 7.34 | 2014-02-19 08:38 | 2014-02-19 12:01 | 3.3833 | 2014-02-19 13:26 | 4.8064
2014-02-19 | 0094 | F | 46.5407 | 11.9 | 12.1 | 12.2 | 10.1 | 11.19 | 42.88 | 8.9 | 2014-02-19 08:53 | 2014-02-19 12:02 | 3.15 | 2014-02-19 13:25 | 4.5378
2014-02-19 | 0095 | M | 46.256 | 14.1 | 13.4 | 11.8 | 8.2 | 11.13 | 41.09 | 6.43 | 2014-02-19 09:35 | 2014-02-19 12:03 | 2.4667 | 2014-02-19 13:24 | 3.8194
2014-02-19 | 0096 | M | 34.3929 | 12.3 | 13.6 | 12.9 | 11.5 | 11.41 | 36.31 | 8.48 | 2014-02-19 09:45 | 2014-02-19 12:05 | 2.3333 | 2014-02-19 13:23 | 3.6344
2014-02-19 | 0097 | F | 41.2019 | 14.1 | 14 | 13.9 | 10.5 | 11.44 | 40.61 | 7.21 | 2014-02-19 10:02 | 2014-02-19 12:06 | 2.0667 | 2014-02-19 13:22 | 3.3331
2014-02-19 | 0098 | M | 24.0274 | 14.6 | 15.6 | 14.6 | 12.2 | 11.24 | 36.4 | 8.12 | 2014-02-19 10:38 | 2014-02-19 12:07 | 1.4833 | 2014-02-19 13:31 | 2.8803
2014-02-19 | 0099 | M | 21.963 | 10.8 | 11.6 | 11.3 | 9.7 | 11.23 | 36.93 | 6.69 | 2014-02-19 10:45 | 2014-02-19 12:08 | 1.3833 | 2014-02-19 13:29 | 2.7269
2014-02-19 | 0100 | F | 23.5181 | 11.4 | 11.1 | 12.4 | 7.9 | 11.36 | 31.77 | 6.93 | 2014-02-19 11:00 | 2014-02-19 12:09 | 1.15 | 2014-02-19 13:30 | 2.4953